## FINAL COST EST
Exhibit A - City of Lewiston Cost Estimate-Storm Only
Project: US-12, 18th St to Clearwater Rv Br, Lewiston
Proj. No. A012(009)
KN. 12009
Date: 28-JUN-18
Item | Unit | Item Description | Supplemental Description | Quantity | Unit Price | Extension
203-015A | SY | REM OF BITUMINOUS SURF |  | 108 | 10 | 1080
203-015A | SY | REM OF BITUMINOUS SURF |  | 40 | 10 | 400
203-060A | SY | REM OF CONC SIDEWALK |  | 25 | 2.5 | 62.5
203-065A | FT | REM OF CURB |  | 57 | 8 | 456
212-025A | FT | DIVERSION CHANNEL |  | 67 | $ 35.00 | 2345
212-095A | EACH | INLET PROTECTION |  | 1 | 80 | 80
213-005A | CY | TOPSOIL |  | 135 | 11 | 1485
213-005A | CY | TOPSOIL |  | 22 | 11 | 242
605-105A | FT | 60" STORM SEWER PIPE |  | 574 | 235 | 134890 |  | APPX 2x price of 42" in FEMA I
605-125A | FT | 72" STORM SEWER PIPE |  | 555 | 345 | 191475
605-450A | EACH | MANHOLE | (96") | 3 | $ 14,000.00 | 42000 |  | 84" FEMA I MHs APPX $10,000 EA
605-450B | EACH | MANHOLE | (108") | 1 | $ 18,000.00 | 18000
614-015A | SY | SIDEWALK |  | 72 | 52 | 3744
614-015A | SY | SIDEWALK |  | 25 | 52 | 1300
615-492A | FT | CURB & GUTTER TY 2 |  | 57 | 25 | 1425
624-005A | ACRE | FERTILIZING |  | 0.1 | 1000 | 100
624-005A | CY | LOOSE RIPRAP | (24") | 100 | $ 75.00 | 7500
624-005B | CY | LOOSE RIPRAP | (15") | 64 | $ 75.00 | 4800
640-010A | SY | RIPRAP/EROSION CONT GEOTEXTILE | (TYPE II) | 191 | $ 2.50 | 477.5
S600-20A | EACH | FIRE HYDRANT ASSEMBLY |  | 1 | 3500 | 3500
S600-45A | FT | WATER LINE | (8") | 767 | $ 39.00 | 29913
S600-45B | FT | WATER LINE | (16") | 505 | $ 70.00 | 35350
S901-06A | EACH | STONE FILTER DAM |  | 2 | $ 500.00 | 1000
S901-06B | EACH | 8" VALVE |  | 5 | $ 3,000.00 | 15000
S901-06C | EACH | 16" VALVE |  | 3 | $ 6,000.00 | 18000
S901-06D | EACH | CUT AND CAP WATER | BLOWOFF | 2 | $ 2,500.00 | 5000
S901-06E | EACH | WATERLINE SERVICE |  | 1 | $ 1,500.00 | 1500
S901-06E | EACH | WATERLINE CONNECTION |  | 4 | 2500 | 10000
S904-05A | LS | TURBIDITY MONITORING |  | 1 | $ 3,000.00 | 3000
S904-05F | LS | MISCELLANEOUS DITCH WORK |  | 1 | 10000 | 10000
S912-05B | SY | LANDSCAPE REPAIR |  | 269 | 22 | 5918
S912-05B | SY | LANDSCAPE REPAIR |  | 120 | 22 | 2640
S912-05C | SY | PAVEMENT REPAIR |  | 148 | $ 40.00 | 5920
S912-05E | SY | EROSION CONTROL BLANKET |  | 78 | $ 20.00 | 1560
Z629-05A | LS | MOBILIZATION |  | 0.23366 | 63705.4 | 14885.4966
Z629-05A | LS | MOBILIZATION |  | 0.76634 | 63705.4 | 48819.9034
[5 empty] | Subtotal: | 623868.4
[5 empty] | Stormwater Subtotal: | 478094.4034 | 76.63%
[5 empty] | Water Subtotal: | 145773.9966 | 23.37%
|  |  |  | 5% | Contingency | 31193.42
[5 empty] | STORMWATER TOTAL: | 501999.1235
[5 empty] | WATER TOTAL: | 153062.6965
[5 empty] | TOTAL: | 655061.82
655061.82

## OLD COST EST
Exhibit A - City of Lewiston Cost Estimate
Project: US-12, 18th St to Clearwater Rv Br, Lewiston
Proj. No. A012(009) | [6 empty] | Storm does not appear to have added costs for removal & replacments cost beyond ITD proejct limits.
KN. 12009 | [6 empty] | Missing items related to removal, concrete, & landscape on sheet 52
Date: 15-Dec-17
Item | Unit | Item Description | Supplemental Description | Quantity | Unit Price | Extension
212-025A | FT | DIVERSION CHANNEL |  | 67 | $ 35.00 | 2345
605-105A | FT | 60" STORM SEWER PIPE |  | 574 | $ 180.00 | 103320
605-125A | FT | 72" STORM SEWER PIPE |  | 555 | $ 220.00 | 122100
605-450A | EACH | MANHOLE | (96") | 3 | $ 14,000.00 | 42000
605-450B | EACH | MANHOLE | (108") | 1 | $ 18,000.00 | 18000
624-005A | CY | LOOSE RIPRAP | (24") | 100 | $ 100.00 | 10000
624-005B | CY | LOOSE RIPRAP | (15") | 64 | $ 75.00 | 4800
640-010A | SY | RIPRAP/EROSION CONT GEOTEXTILE | (TYPE II) | 191 | $ 2.50 | 477.5
S600-20A | EACH | FIRE HYDRANT ASSEMBLY |  | 1 | $ 3,500.00 | 3500
S600-45A | FT | WATER LINE | (8") | 767 | $ 39.00 | 29913
S600-45B | FT | WATER LINE | (16") | 505 | $ 70.00 | 35350
S901-06A | EACH | SP | STONE FILTER DAM | 2 | $ 500.00 | 1000
S901-06B | EACH | SP | 8" VALVE | 5 | $ 3,000.00 | 15000
S901-06C | EACH | SP | 16" VALVE | 3 | $ 6,000.00 | 18000
S901-06D | EACH | SP | BLOWOFF ASSEMBLY | 2 | $ 2,500.00 | 5000
S901-06E | EACH | SP | WATERLINE SERVICE | 1 | $ 1,500.00 | 1500
S904-05A | LS | SP | TURBIDITY MONITORING | 1 | $ 3,000.00 | 3000
S901-06F | EACH | SP | WATERLINE CONNECTION | 4 | $ 2,500.00 | 10000
S912-05C | SY | SP | PAVEMENT REPAIR | 169 | $ 40.00 | 6760 | 130 SY is for Water sheet 52. The remaining 39 is ITD.
S912-05E | SY | SP | EROSION CONTROL BLANKET | 78 | $ 20.00 | 1560
Z629-05A | LS | MOBILIZATION (10%) |  | 1 | $ 43,362.55 | 43362.55
[5 empty] | Subtotal: | 476988.05
[5 empty] | Contingency (5%) | 23849.4025
[5 empty] | Total: | 500837.4525
[5 empty] | Stormwater | 364243.6875
[5 empty] | Water | 136593.765 | 280000
500837.4525
'file:///tmp/in/input.xlsx'#$OLD COST EST